## Sheet1
From: nc2-bounces@iastate.edu <nc2-bounces@iastate.edu> On Behalf Of Hayes, Chad - DOT Sent: Wednesday, April 10, 2019 11:45 AM To: NC2@iastate.edu Subject: SAM and Type B air meter calibrations Hello. As Wis.DOT moves forward with implementing the use of the SAM we’ve identified a discrepancy between a calibrated SAM and a calibrated Type B air meter when measuring the air volume. Wis.DOT calibrates our Type B air meters per ASTM C213. We calibrate the SAM with the brass cali-can that comes with it. The SAM brass cali-can does represent 5% air in a 0.25 cf bucket when measured by weight and converted to volume. We see a 0.2 difference between a calibrated SAM and a calibrated Type B air meter when measuring the same cali-can. The std Type B meters read 0.2 less. 1. Does your state calibrate Type B air meters using ASTM 231 or using a cali-can? 2. Have you experienced this situation with the SAM and Type B air meters? 3. If you answered yes to question #2 above, how have you handled this issue? Thank you, Chad
ANSWERS
STATE | Question #1 | Question #2 | Question #3
IL | C231 | Y | Usually we get an air reading that is within the 0.9% tolerance allowed by IDOT (SAM vs. B meter). Sometimes the SAM reads the exact same as the B meter. Generally, the SAM reads higher than a B meter. We do not use the air value measured by the SAM meter to check vs. air specifications. A Type B meter is always used for field acceptance.
IA | CAN | Y
MI | CAN | N
MN
NC | C231 | --
MT | C231 | N/A
GA | ? | N/A
FL | C231 | N/A
ND | C231 | Y | SAM results are taken as is for mix design, type B meter is used in the field for testing
CO | C231 | Y | Calibrate the Type B per ASTM C231, and accept the inaccuracies of the dial gauge, especially on well used gauges.
WI | C231
MO | C231 | N/A
GA | CAN | -- | --
SD | Either | Yes | We used them as is, we haven’t used SAM meter for field acceptance yet.
OH | C231 | N/A | Not much use with SAM's